## Instructions
Data Template Instructions | On the "New_Resources" tab, please report each new resource (chosen from among RESOLVE candidate resource types or indicate Other_New) that the LSE plans to invest in through the IRP planning horizon. These are analogous to “candidate” resources as defined in the RESOLVE model, and incremental to any resource that was reported in the Baseline Resource Data Template, i.e. "new steel in the ground." For situations where the LSE is reporting a future contract with unknown existing resource(s) (e.g. a new RA contract with an existing unit that comes off its existing contract in a future year), do NOT report it in this workbook, rather, report it in the Baseline Resource Data Template. On the "New_Resources" tab, also report the total fixed cost of each new resource. Column heading definitions are below. On the "New_Costs" tab, please report cost projections if applicable to the reporting entity. These are costs associated with the resources in the "New_Resources" tab and incremental to any costs reported in the Baseline Resource Data Template. Report all costs in 2016 dollars, using the IEPR dollar deflator series posted to the IRP Filing Materials and Templates webpage. Explain the composition of each cost category in the text body of the Standard LSE Plan Template. Incremental revenue requirement should be the sum of the other components in this worksheet. If including new load or load modifying resource information as part of a portfolio reported in the Standard LSE Plan Template, then follow the instructions on the "Instructions_IEPR_Forms" tab of this workbook to report that data. Many cells include data validation that requires the LSE to populate cells with only the allowed values shown in the cell's drop down menu. Data entry may be done manually, with copy/paste, or with a script - but only allowed values for that cell must be entered - this is critical to ensuring clean and reconciliable data. Cells must contain only text or numerical data. Do not use the "Insert Comment" feature of Excel to comment on specific cells. Instead please comment on specific cells in the text body of the Standard LSE Plan Template.
New_Resources Column Heading | Instruction and Description
LSE_Name | Select from the drop-down menu the Load Serving Entity (LSE) name. This column must not be blank.
New_Resource_Type | Select a RESOLVE candidate resource type from the dropdown. Select "Other_New" if LSE's selected resource does not match any of the RESOLVE candidate resource types. This column must not be blank.
Other_New_Description | Default: leave blank. If LSE selects "Other_New" under column New_Resource_Type, then fill in this cell with a description of the resource technology and operational attributes.
Location | Select from the drop down menu the resource location. If the location is inside the CAISO balancing area, then select the local capacity area or select "CAISO_System" if not within any local capacity area. If the location is outside the CAISO balancing area, then select the appropriate non-CAISO location. This column must not be blank.
Year_Begin | Expected online year in yyyy format. This column must not be blank.
Year_End | Expected end of long-term contract or retirement year in yyyy format. Enter 2050 if no end date. This column must not be blank.
Nameplate_MW | Enter the resource's nameplate capacity value (MW). The nameplate capacity is the maximum rated AC output of the unit. This column must not be blank.
AnnualEnergy_GWh | Enter the resource's expected annual energy production (GWh). This column must not be blank.
Tech_Sub_Type | If applicable to the type of technology, select the sub-type from the dropdown (e.g. fixed vs. tracking solar). Otherwise leave blank.
SolarPV_InverterLoading | If resource is solar PV, enter the ratio of installed DC panel capacity to installed AC inverter capacity (unitless number between 2 and 1). Otherwise leave blank.
Storage_Depth_MWh | If resource is energy storage, enter the discharge capacity in MWh at max output. Otherwise leave blank.
Storage_Efficiency | If resource is energy storage, enter the round-trip efficiency (unitless number between 0 and 1). Otherwise leave blank.
FCDS | 1 = This resource is fully deliverable; 0 = This resource is energy-only. This column must not be blank.
New_Rsrc_Total_Fixed_Costs | In 2016 $, enter the total fixed cost of this new resource. This column must not be blank.
New_Tx_Name | If new transmission is required for this new resource, enter the new transmission project name/identifier. Otherwise leave blank.
New_Tx_LSE_Share_MW | If new transmission is required for this new resource, enter the LSE's share in MW of the total new transmission line capacity. Otherwise leave blank.
New_Tx_Total_MW | If new transmission is required for this new resource, enter the total new transmission line capacity in MW. Otherwise leave blank.
New_Tx_LSE_Share_Fixed_Costs | If new transmission is required for this new resource, enter in 2016 $ the LSE's share of the total fixed cost of the new transmission triggered by this new resource. Otherwise leave blank.
New_Tx_Total_Fixed_Costs | If new transmission is required for this new resource, enter in 2016 $ the total fixed cost of the new transmission triggered by this new resource. Otherwise leave blank.

## Instructions_IEPR_Forms
If LSEs use different load and load modifier assumptions as part of any Alternate portfolios, the LSE should report that information using the standard IEPR filing form templates associated with that information, included as additional tabs within this workbook, one tab per IEPR Form. The LSE should clearly identify the data that differs from the forms it submitted to the CEC in 2017 as part of the 2017 IEPR process. The table below indicates which standard IEPR filing forms apply to which entity. IEPR Forms may be downloaded here:
CEC IEPR Forms | http://docketpublic.energy.ca.gov/PublicDocuments/17-IEPR-03/TN215680-1_20170131T142702_FINAL_2017_Electricity_Demand_Forecast_Forms.xlsx
CEC Instructions | http://docketpublic.energy.ca.gov/PublicDocuments/17-IEPR-03/TN215675_20170131T111216_FINAL_Forms_and_Instructions_for_Submitting_Electricity_Demand.pdf
|  | IOU | CCA | ESP
Form 1.1a | RETAIL SALES OF ELECTRICITY BY CLASS OR SECTOR (GWh) Bundled & Direct Access | X
Form 1.1b | RETAIL SALES OF ELECTRICITY BY CLASS OR SECTOR (GWh) Bundled Customers | X
Form 1.2 | DISTRIBUTION AREA NET ELECTRICITY FOR GENERATION LOAD (GWh) | X
Form 1.3 | LSE COINCIDENT PEAK DEMAND BY SECTOR (Bundled Customers) | X
Form 1.4 | DISTRIBUTION AREA COINCIDENT PEAK DEMAND | X
Form 3.2 | ENERGY EFFICIENCY - CUMULATIVE INCREMENTAL IMPACTS | X
Form 3.3 | DISTRIBUTED GENERATION - CUMULATIVE INCREMENTAL IMPACTS | X
Form 3.4 | DEMAND RESPONSE - CUMULATIVE INCREMENTAL IMPACTS | X
Form 4 | REPORT ON FORECAST METHODS AND MODELS | X | X
Form 6 | UNCOMMITTED DEMAND-SIDE PROGRAM METHODOLOGY | X
Form 7.1 | ESP DEMAND FORECAST |  |  | X
Form 7.2 | CCA DEMAND FORECAST |  | X

## New_Resources
LSE_Name | New_Resource_Type | Other_New_Description | Location | Year_Begin | Year_End | Nameplate_MW | AnnualEnergy_GWh | Tech_Sub_Type | SolarPV_InverterLoading | Storage_Depth_MWh | Storage_Efficiency | FCDS | New_Rsrc_Total_Fixed_Costs | New_Tx_Name | New_Tx_LSE_Share_MW | New_Tx_Total_MW | New_Tx_LSE_Share_Fixed_Costs | New_Tx_Total_Fixed_Costs
Silicon Valley Clean Energy | New_Mexico_Wind | Corona Wind | Out_Of_State | 2021 | 2036 | 200 | 419.35 |  |  |  |  | 1 | [6 empty] | 104.4425
Silicon Valley Clean Energy | CAISO_New_Li_Battery | BAR 13 (EDF) | CAISO_System | 2021 | 2041 | 40 | 0 |  |  | 160 | 0.86 | 1
Silicon Valley Clean Energy | Northern_California_Solar | BAR 13 (EDF) | CAISO_System | 2021 | 2041 | 128 | 208 | Solar_FixedTilt | 1.2 |  |  | 1
Silicon Valley Clean Energy | CAISO_New_Li_Battery | RE Slate (Recurrent) | CAISO_System | 2021 | 2036 | 45 | 0 |  |  | 180 |  | 1
Silicon Valley Clean Energy | Northern_California_Solar | RE Slate (Recurrent) | CAISO_System | 2021 | 2036 | 150 | 213 | Solar_FixedTilt | 1.2 |  | 0.86 | 1
Silicon Valley Clean Energy | Northern_California_Solar | Future RFO | CAISO_System | 2022 | 2032 |  | 3 | Solar_FixedTilt
Silicon Valley Clean Energy | Northern_California_Wind | Future RFO | CAISO_System | 2022 | 2032 |  | 3
Silicon Valley Clean Energy | Northern_California_Solar | Future RFO | CAISO_System | 2023 | 2033 |  | 12 | Solar_FixedTilt
Silicon Valley Clean Energy | Northern_California_Wind | Future RFO | CAISO_System | 2023 | 2033 |  | 12
Silicon Valley Clean Energy | Northern_California_Solar | Future RFO | CAISO_System | 2024 | 2034 |  | 21 | Solar_FixedTilt
Silicon Valley Clean Energy | Northern_California_Wind | Future RFO | CAISO_System | 2024 | 2034 |  | 21
Silicon Valley Clean Energy | Northern_California_Solar | Future RFO | CAISO_System | 2025 | 2035 |  | 31 | Solar_FixedTilt
Silicon Valley Clean Energy | Northern_California_Wind | Future RFO | CAISO_System | 2025 | 2035 |  | 31
Silicon Valley Clean Energy | Northern_California_Solar | Future RFO | CAISO_System | 2026 | 2036 |  | 39.5 | Solar_FixedTilt
Silicon Valley Clean Energy | Northern_California_Wind | Future RFO | CAISO_System | 2026 | 2036 |  | 39.5
Silicon Valley Clean Energy | Northern_California_Solar | Future RFO | CAISO_System | 2027 | 2037 |  | 48.5 | Solar_FixedTilt
Silicon Valley Clean Energy | Northern_California_Wind | Future RFO | CAISO_System | 2027 | 2037 |  | 48.5
Silicon Valley Clean Energy | Northern_California_Solar | Future RFO | CAISO_System | 2028 | 2038 |  | 57 | Solar_FixedTilt
Silicon Valley Clean Energy | Northern_California_Wind | Future RFO | CAISO_System | 2028 | 2038 |  | 57
Silicon Valley Clean Energy | Northern_California_Solar | Future RFO | CAISO_System | 2029 | 2039 |  | 66 | Solar_FixedTilt
Silicon Valley Clean Energy | Northern_California_Wind | Future RFO | CAISO_System | 2029 | 2039 |  | 66
Silicon Valley Clean Energy | Northern_California_Solar | Future RFO | CAISO_System | 2030 | 2040 |  | 150 | Solar_FixedTilt
Silicon Valley Clean Energy | Northern_California_Wind | Future RFO | CAISO_System | 2030 | 2040 |  | 150

## New_Costs
Cost Category | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Incremental Distribution
Incremental Transmission
Incremental Generation
Incremental Demand Side Programs
Incremental Other
Incremental Revenue Requirement

## List_Data
LSE_Type | LSE_Name_Long | LSE_Name_Short | New_Resource_Type | Location | Year_Begin | Year_End | Tech_Sub_Type | SolarPV_InverterLoading | Storage_Efficiency | FCDS
ESP | 3 Phases Renewables Inc | 3PhasesRenewable | CAISO_New_Advanced_CCGT | BigCreekVentura | yyyy | yyyy | Solar_FixedTilt | 1 <= R <= 2 | 0 <= E <= 1 | 0 or 1
ESP | Agera Energy LLC | AgeraEnergy | CAISO_New_Aero_CT | GreaterBayArea | 2018 | 2018 | Solar_Track1axis | 1 | 0 | 0
ESP | American Powernet Management | AmericanPowerNetM | CAISO_New_Conventional_DR | LABasin | 2050 | 2050 | Solar_Track2axis | 2 | 1 | 1
Co-op | Anza Electric Cooperative | AnzaElecCoop | CAISO_New_Flexible_Load_Shift | Other_PGE |  |  | Solar_Thermal
CCA | Apple Valley Choice Energy | AppleVlyChoiceEn | CAISO_New_Flow_Battery | SanDiegoImperialValley
Utility | Bear Valley Electric Service | BearValley | CAISO_New_Li_Battery | CAISO_System
ESP | Calpine Energy Solutions LLC | CalpineEnergySoln | CAISO_New_Pumped_Storage | Non_CAISO_In_State
ESP | Calpine Poweramerica-CA LLC | CalpinePowerAmCA | CAISO_New_Reciprocating_Engine | Out_Of_State
CCA | Clean Power San Francisco | CleanPowerSF | CAISO_New_Small_Hydro
ESP | Commercial Energy of California | CommercialEnergyCA | Northern_California_Solar
ESP | Constellation New Energy Inc | ConstellationNewEn | Solano_Solar
CCA | Desert Community Energy | DesertCommunityEn | Central_Valley_North_Los_Banos_Solar
ESP | Direct Energy Business | DirectEnergyBusiness | Westlands_Solar
CCA | East Bay Community Energy | EastBayCommunityEn | Greater_Carrizo_Solar
ESP | EDF Industrial Power Services CA LLC | EDFIndustrialPowerSrv | Tehachapi_Solar
ESP | Just Energy Solutions Inc | JustEnergySolutions | Kramer_Inyokern_Solar
CCA | King City CCA | KingCityCCA | Mountain_Pass_El_Dorado_Solar
CCA | Lancaster Choice Energy | LancasterChoiceEn | Southern_California_Desert_Solar
Utility | Liberty Utilities | LibertyUtilities | Riverside_East_Palm_Springs_Solar
CCA | Los Angeles Community Choice | LosAngelCommChoice | Greater_Imperial_Solar
CCA | Marin Clean Energy | MarinCleanEnergy | Distributed_Solar
CCA | Monterey Bay Community Power | MontereyBayCommPwr | Baja_California_Solar
Utility | Pacific Gas and Electric | PacificGasAndElectric | Utah_Solar
Utility | PacifiCorp | PacifiCorp | Southern_Nevada_Solar
CCA | Peninsula Clean Energy | PeninsulaCleanEnAuth | Arizona_Solar
CCA | Pico Rivera Innovative Municipal Energy | PicoRiveraInnovMuniEn | New_Mexico_Solar
ESP | Pilot Power Group Inc | PilotPowerGroup | Northern_California_Wind
CCA | Pioneer Community Energy | PioneerCommunityEn | Solano_Wind
Co-op | Plumas Sierra Rural Elec Coop | PlumasSierraCoop | Central_Valley_North_Los_Banos_Wind
CCA | Rancho Mirage Energy Authority | RanchoMirageEnAuth | Greater_Carrizo_Wind
CCA | Redwood Coast Energy | RedwoodCoastEnergy | Tehachapi_Wind
Utility | San Diego Gas and Electric | SanDiegoGasAndElectric | Kramer_Inyokern_Wind
CCA | San Jacinto Power | SanJacintoPower | Southern_California_Desert_Wind
CCA | San Jose City | SanJoseCity | Riverside_East_Palm_Springs_Wind
ESP | Shell Energy North America | ShellEnergyNorthAm | Greater_Imperial_Wind
CCA | Silicon Valley Clean Energy | SiliconVlyCleanEnAuth | Distributed_Wind
CCA | Solana Energy Alliance | SolanaEnergyAlliance | Baja_California_Wind
CCA | Sonoma Clean Power | SonomaCleanPower | Pacific_Northwest_Wind
Utility | Southern California Edison | SouthernCalEdison | NW_Ext_Tx_WIND
Co-op | Surprise Valley Electric Corp | SurpriseValleyElectric | Idaho_Wind
ESP | The Regents of the University of California | TheRegentsUnivCA | Utah_Wind
ESP | Tiger Natural Gas Inc | TigerNaturalGas | Wyoming_Wind
CCA | Valley Clean Energy Alliance | ValleyCleanEnAlliance | Southern_Nevada_Wind
Co-op | Valley Electric Association | ValleyElectricAssoc | Arizona_Wind
New_Mexico_Wind
SW_Ext_Tx_Wind
InState_Biomass
Greater_Imperial_Geothermal
Northern_California_Geothermal
Pacific_Northwest_Geothermal
Southern_Nevada_Geothermal
Other_New